## Sheet1
Main Equipment
EA5801 Multi-service Access Module
02352AHD | H90Z1EAGP08 | EA5801-GP08,with 8*GPON,2*10GE/GE,2*GE(including 8 PCS Class C++ SFP Optical Module)
02352AHC | H90Z2EAGP08 | EA5801-GP08,with 8*GPON,2*10GE/GE,2*GE(including 8 PCS Class C+ SFP Optical Module)
02352AGY | H90Z3EAGP08 | EA5801-GP08,with 8*GPON,2*10GE/GE,2*GE(including 8 PCS Class B+ SFP Optical Module)
02352BWY | H90Z1EACG04 | EA5801-CG04,with 4* XG/G Combo PON,2*10GE/GE,2*GE(including 4 PCS D1 SFP Optical Module)
02352GEN | H921PICA01 | DC POWER BOARD
Optical/Electric Module
GE Single Channel Two-fiber Bidirectional Optical Module
34060473 | eSFP-1310nm-1000Base-Lx SM | Optical transceiver,eSFP,1310nm,1.25Gb/s,-9~-3dBm,-20dBm,LC,Single Mode,10km
34060513 | OGSME4000 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-5dBm,0dBm,-22dBm,LC,SM,40km
34060360 | eSFP-1550nm-1000Base-Zx/FC100 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-2~5dBm,-23dBm,LC,SM,80km
S4016954 | OSG040002 | Optical Transceiver(eSFP,1310nm,1.25Gb/s,-5~0dBm,-23dBm,LC,SM,40km)
10GE Optical Module(SFP+)
34060495 | OSX001001 | Optical transceiver,SFP+,1310nm,10Gb/s,-8.2~0.5dBm,-12.6dBm,LC,SM,10km
34060518 | OSX040N00 | Optical transceiver,SFP+,1550nm,9.95~11.1Gb/s,-4.7~4dBm,-14.1dBm,LC,SM,40km
Cabinet
02353CGL | CAB-T100-ETP4860-FIBER-B | F01T100 Pure Optical Configuration Assembly Cabinet(Include 48-Core SC/APC,Max.72-Core SC/APC or 96-Core 2LC/PC,DC,20AH Battery Cabin,1080H*600W*250D)
02353CGJ | CAB-T100-ETP4860-FIBER | F01T100 Pure Optical Configuration Assembly Cabinet(Include 48-Core SC/APC,Max.72-Core SC/APC or 96-Core 2LC/PC,DC,ETP4860 Power,No Battery Cabin,830H*600W*250D)
02353CGK | CAB-T100-ETP4860-FIBERBAT | F01T100 Pure Optical Configuration Assembly Cabinet(Include 48-Core SC/APC,Max.72-Core SC/APC or 96-Core 2LC/PC,DC,ETP4860 Power,Max.40AH Battery Backup,1280H*600W*250D)
Power & Battery
ETP4860 Power Function Module
1074817 | ETP4860-B1A2 | Embedded Power, ETP4860,220Vac Single-Phase or 120V/240Vac Split-Phase or 380Vdc HVDC, 60A, Front Cabling, Width 442mm, Height 1U
02312QJD | SMU11C-01 | Stick power monitor module
02312QKP | SMU11B-01 | power monitor module
02312QJQ | R4830G1-0201 | R4830G1-02 2000W High Efficiency Rectifier
02312QJR | R4815G1-0201 | R4815G1-02 1U1000W High Efficiency Rectifier
21140631 | EN3KSPANEL04 | High Efficiency Rectifier panel
2352114 | H80PACTODC01 | 60W AC to DC Power Assembly
02353CNS | AUX-T100-DC-12AH-01 | Assembling Components for 12AH Battery(DC Main Equipment)
02353CNT | AUX-T100-DC-20-40AH | Assembling Components for 20/40AH Battery(DC Main Equipment)
24022399 | BND12V12AH02 | Rechargeable Battery, VRLA Battery, 48V, 12Ah, 12V Monobloc, 151mm(W) * 98mm(D) * 101mm(H), 4 PCS, Narada 6-FM-12
24023000 | LPL12-121906 | Rechargeable Battery, VRLA Battery, 48V, 12Ah, 12V Monobloc,151mm(W)*98mm(D)*101mm(H), 4 PCS,Leoch LPL12-12
24022400 | BND12V20AH01 | Rechargeable Battery, VRLA Battery, 48V, 20Ah, 12V Monobloc, 181mm(W) * 76mm(D) * 167mm(H), 4 PCS, Narada 6-FM-20
24023001 | LPL12-201906 | Rechargeable Battery, VRLA Battery, 48V, 20Ah, 12V Monobloc,181mm(W)*76mm(D)*167mm(H), 4 PCS,Leoch LPL12-20
24023003 | LPL12-381906 | Rechargeable Battery, VRLA Battery, 48V, 38Ah, 12V Monobloc,197mm(W)*165mm(D)*170mm(H), 4 PCS,Leoch LPL12-38
24022402 | BND12V40AH01 | Rechargeable Battery, VRLA Battery, 48V, 40Ah, 12V Monobloc, 197mm(W) * 166mm(D) * 170mm(H), 4 PCS, Narada 6-FM-40
02232UYW | ESM-4825A1 | Energy Storage Module,ESM-4825A1,48V,25Ah,390mm (W)*152mm (D)*130mm (H)
Cabinet Enhancement Assembly
02351UQJ | EHC-T100 | Enhance Heat Consumption Module of F01T100(Extra Hot Area)
02351VLL | HEAT-T100-12AH20AH | Battery Cabin Heating Module(Used for 12/20AH Battery)
02351XWA | HEAT-T100-40AH | Battery Cabin Heating Module(Used for 40AH Battery)
02352FSW | AUX-Li-ion-BAT-S | Li-ion Battery Assembly Components (for Small Capacity Cabinet)
02352RLK | K11JSBB0 | Interconnecting device
02350GNS | H80Z19T500 | Components for Smoke Detector
Installation Material
Installation Material(Delivery after Assembly)
ODF
02351YAJ | AUX-T100-ODF | ODF Components(12 Core SC/APC)
02353FEX | ODF-T100-AUX | ODF Components(12 Core SC/APC)
Blank Panel
21136636 | H80XBP0YWB02 | S37/57 power blank front panel
Purchased Module
2355391 | H83Z3SF01S50 | Components for Socket,Multi Type
2355393 | H83Z1SF01S50 | Components for Socket,European Standard
Material used for Installing Main Equipment
02351XWB | AUX-T100-OPTICAL | Pure Optical Assembly Components for T100(Include 48-Core SC/APC,Max.72-Core SC/APC or 96-Core 2LC/PC)
02351YHR | ADAPTER-T100-2LCPC | Optical Adapter-2LC/PC-2LC/PC-Blue(Used for Outdoor Cabinet)
Installation Material(Direct Shipment)
Fiber Suite,uniSite,External Fiber Cable Suite
14133696 | SCAPC-SCAPC-S-3A | Patch Cord,SC/APC,SC/APC,Single Mode,G.657A2,2mm,2m,LSZH
14133698 | SCUPC-SCAPC-S-3A | Patch Cord,SC/UPC,SC/APC,Single Mode,G.657A2,2mm,2m,LSZH
14130990 | FSLL00303 | Patch Cord,LC/UPC,LC/UPC,Single mode,G.657B3,1.6mm,3m,LSZH-30mm Short LC
14130881 | LCUPC-SCAPC-S-3 | Patch Cord,LC/UPC,SC/APC,Single-mode,3m,G.657A2,2mm,LSZH
14130856 | LC-S-1 | Patch Cord,LC/UPC,/,Single-mode,1m,G.657A2,2mm
14300001 | F2LC2LC00 | Optical adapter-2LC/PC-2LC/PC-Blue-Shell:Plastic-Sleeve:Zirconia-Square-SC packing
14300004 | F00SCSC12 | Optical adapter-SC/APC-SC/APC-Green-Shell:Plastic-Sleeve:Zirconia-Square
Power Cable
25030429 | C1016YG00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Yellow/Green,85A,CCC,CE (Unit:meter)
25030569 | C1016G001 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Green,85A,CCC,CE (Unit:meter)
02230AVW | H83X0F01S001 | Engineering Required Delivery Accessory Per Assembly Cabinet
21150503 | DKBA407512 | Pole installation assembly-Steel sheet-for pole (D114~376mm)-Use for ONU60A outdoor cabinet
28050001 | ESD-Proventive wrist strap | Wrist Strap
Document Accessory
31180AKD | H90IR19DOC03E | SmartAX EA5801 Optical Access Module Product Documentation
31180AVK | H90IR19DOC28 | SmartAX EA5801 Multi-service Access Module Product Documentation
Software Charges (Software&License)
88032SXB | H80S0IPV6022 | IPV6 Function License , Based on per Host
88032SXA | H80S0MPLS02 | MPLS Function License, Based on per host
88034HBN | H80S0GRE01 | GRE Function License , Based on per Tunnel
88034HEA | H80S0VxLAN01 | VxLAN Resource License , Based on VNI Granularity
88034QFD | H80S0TYPEB02 | Type B Dual homing Function License, based on per host
88032TUD | H80S00L3FS02 | L3 Function License, based on per host
88032TUE | H80S000ONT09 | ONT Access License, Based on Per ONT
88033LEM | H80S000ONT10 | 10G GPON ONT Access License, Based on Per ONT
88032TUF | H80S00GPON09 | GPON Port License,Based on per GPON Port
88032TUG | H80S010GPON12 | 10G PON Port License,Based on per 10G PON Port
88034XNA | H9215801SW02 | EA5801 System Software Package