## Sheet1
Air Conditioning System
52273186 | NetCol500-A026SC11E0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A026-1053H*1110W*1094D,Single Power Supply,Cooling Only,International packaging
52273190 | NetCol500-A0265S11E0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A026-1077H*1120W*1094D,Single Power Supply,Cooling Only,International packaging
52273202 | NetCol500-A0226C3E0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A022,1327H*979W*320D,International packaging
52273200 | NetCol8000-A013U40E0 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol8000-A013U,1886H*800W*664D,Upper Air Flow,Down Pipe,Single Power Supply,Cooling Only,International packaging
52273201 | NetCol8000-A013U4WE0 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol8000-A013U,1886H*800W*664D,Upper Air Flow,Down Pipe,Single Power Supply,Heating&Humidifier,International packaging
52273533-002 | NetCol8000-A045D4WE4 | Smart Cooling Product,Air-Cooled,Indoor Unit,NetCol8000-A045D,2000H*900W*900D,Downward Air Flow,Down Pipe/Side Pipe,Dual Power Supply,Heating&Humidifier,International Packaging
52273535-002 | NetCol8000-A045U4WE4 | Smart Cooling Product,Air-Cooled,Indoor Unit,NetCol8000-A045U,2000H*900W*900D,Upward Air Flow,Down Pipe/Side Pipe,Dual Power Supply,Heating&Humidifier,International Packaging
52273537-002 | NetCol8000-A090D4FE4 | Smart Cooling Product,Air-Cooled,Indoor Unit,NetCol8000-A090D,2000H*1800W*1000D,Downward Air Flow,Down Pipe/Side Pipe,Dual Power Supply,Heating&Humidifier,International Packaging
52273788 | NetCol5000-A050H4WE2 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A050H,2000H*600W*1200D,Horizontal Air Flow,Up&Down Pipe,Dual Power Supply,Heating&Humidifier,International packaging
52273788-003 | NetCol5000-A050H40E2 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A050H,2000H*600W*1200D,Horizontal Air Flow,Up&Down Pipe,Dual Power Supply,Cooling Only,International packaging
52273786 | NetCol5000-A050H4WE0 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A050H,2000H*600W*1200D,Horizontal Air Flow,Down Pipe,Single Power Supply,Heating&Humidifier,International Packaging
52273786-001 | NetCol5000-A050H40E0 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A050H,2000H*600W*1200D,Horizontal Air Flow,Down Pipe,Single Power Supply,Cooling Only,International packaging
52273539 | NetCol500-A060MC1D0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A060,1107H*1356W*1094D,International packaging
52273504 | NetCol500-W0556C4E0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-W055-530mmH*1510mmW*262mmD,Single Power Supply,Cooling Only,International packaging
52273539-005 | NetCol500-A060MC1D0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A060,1107H*1356W*1094D,International Package
52273539-006 | NetCol500-A060MS1E0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A060,1107H*1356W*1094D,International Package
52273541-005 | NetCol500-A080MC1D0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A080,1107H*2186W*1094D,International Package
52274254 | NetCol5000-A035H4WE2 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A035H,2000H*300W*1200D,Horizontal Air Flow,Up&Down Pipe,Dual Power Supply,Heating&Humidifier,International packaging
52274254-001 | NetCol5000-A035H40E2 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A035H,2000H*300W*1200D,Horizontal Air Flow,Up&Down Pipe,Dual Power Supply,Cooling Only,International packaging
52274254-002 | NetCol5000-A035H4WE0 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A035H,2000H*300W*1200D,Horizontal Air Flow,Down Pipe,Single Power Supply,Heating&Humidifier,International packaging
52274254-003 | NetCol5000-A035H40E0 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A035H,2000H*300W*1200D,Horizontal Air Flow,Down Pipe,Single Power Supply,Cooling Only,International packaging
52273534 | NetCol8000-A060D4WE4 | Smart Cooling Product,Air-Cooled,Indoor Unit,NetCol8000-A060D,2000H*1100W*1000D,Downflow,Bottom or Side Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52273536 | NetCol8000-A060U4WE4 | Smart Cooling Product,Air-Cooled,Indoor Unit,NetCol8000-A060U,2000H*1100W*1000D,Upflow,Bottom or Side Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52274270 | NetCol8000-A120D4FE4 | Smart Cooling Product,Air-Cooled,Indoor Unit,NetCol8000-A120D,2000H*2200W*1000D,Downflow,Bottom or Side Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52274570 | NetCol500-A110MC1E0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A110,1770H*2250W*1100D,International Package
52274255 | NetCol5000-A025H4WE2 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A025H,2000H*300W*1100D,Horizontal Air Flow,Up&Down Pipe,Dual Power Supply,Heating&Humidifier,International packaging
52274255-001 | NetCol5000-A025HNWE2 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A025H,2000H*300W*1100D,Horizontal Air Flow,Up&Down Pipe,Dual Power Supply,Heating&Humidifier,International packaging
52274285-002 | NetCol500-A040MS1E0 | Smart Cooling Product,Air Cooling,Outdoor Unit,NetCol500-A040-1053H*1110W*1094D,Single Power Supply,Cooling Only,International packaging
52274052 | NetCol5000-A050HRWE2 | Smart Cooling Product,Air Cooling,Indoor Unit,NetCol5000-A050H,2000H*600W*1200D,Horizontal Air Flow,Up&Down Pipe,Dual Power Supply,Heating&Humidifier,International packaging
Optional Items
52270386 | 52270386 | Smart Cooling Product Auxiliary Material,Copper Pipe Assembly,7/8"(gas pipe)&5/8"(liquid pipe)*25m,Including Engineering Auxiliary Materials
52273454 | 52273454 | Smart Cooling Product Auxiliary Material,Copper Pipe Assembly,3/4"(gas pipe)&3/8"(liquid pipe)*25m,Including Engineering Auxiliary Materials,Applying To 52273389/52273390 etc,Chinese&English
52270356 | 52270356 | Smart Cooling Product Auxiliary Material,Copper Pipe Assembly,1"(gas pipe)&3/4"(liquid pipe)*40m,Including Engineering Auxiliary Materials
52271032 | 52271032 | Smart Cooling Product Auxiliary Material,Copper Pipe Assembly,3/4"(gas pipe)&5/8"(liquid pipe)*25m,Including Engineering Auxiliary Materials
52272850 | 52272850 | Smart Cooling Product Auxiliary Material,Brass Assembly,7/8"(Gas Pipe)&3/4"(Liquid Pipe)*25m,(Contain Engineering accessories)
52270383 | 52270383 | Smart Cooling Product Auxiliary Material,Refrigerant,R410A,11.3kg/pcs
52272346 | 52272346 | Smart Cooling Product Spare Part,Air Conditioner Auxiliary Material,Refrigerant R410A,11.3kg/Tank
21500986 | IDSTAILFRME03 | 600 mm wide top frame, for extending 2000 mm high cabinets to 2200mm high/1200mm depth, used together with integrated UPS cabinets, integrated PDCs, modular precision PDCs, battery cabinets, or 600 mm wide air conditioners
33010293 | ESSSensor | Sensor-Smoke Sensor-12VDC-2 wire current mode output
02310VGR | ENR1DETA1 | Function Module,Point type,Dry contact type
4070012 | QWMC0000FE00 | Signal Cable,Shielded Straight Through Cable,10m,MP8-II,CC4P0.5GY(S),MP8-II,FTP
21500991 | IDSTAILFRME01 | 300 mm wide top frame, for extending 2000 mm high cabinets to 2200 mm high/ 1200mm depth, used together with 300 mm wide air conditioners or adaptive frames
52272506 | 52272506 | Smart Cooling Product Auxiliary Material,Differential pressure control module,0-500Pa
52272851 | 52272851 | Smart Cooling Product Spare Part,Refrigeration oil,MEL32-4L/pcs
21242005 | IDS2CABCHAS0 | Lower sealing plates for 2000 mm high cabinets,front and rear sealing plates,for 600 mm wide cabinets,1 PCS for every two cabinets,dedicated for M-type cabinets
52271197 | DWZJ24 | Smart Cooling Product Auxiliary Material,Low Temperature Component,24L,632H*944W*507D,-40Centigrade,NetCol5000-A
33010516 | EBTSensor005 | temperature and humidity sensor
25030395 | C3015BK00 | Power Cable,300V/500V,60227 IEC 53(RVV),2x1.5mm^2,Black(2Cores:Brown,Blue),15A,Outdoor Cable,CCC,CE (Unit:meter)
21501971 | 21501971 | Network Energy-NetCol8000 Cap- 900*900*600mm(suitable for deep 900mm units)
21502390 | 21502390 | Network Energy-NetCol8000 Cap- 1100*1000*600mm(suitable for W*D=1100*1000mm units)
52272497 | 52272497 | Smart Cooling Product Auxiliary Material,Half cabinet handling tool ,Suitable for 25kW half cabinet products,Figure No. DKBA04804719,Chinese&English
Cabling System
25030828 | IDSPWRCBL006 | Power Cable,600V/1000V,ZA-RVV,5x6mm^2,Black(5Cores:Red,Yellow,Green,Blue,Black),46A,Outdoor Cable,CE (Unit:meter)
25030829 | IDSPWRCBL002 | Power Cable,600V/1000V,ZA-RVV,5x2.5mm^2,Black(5Cores:Red,Yellow,Green,Blue,Black),27A,Outdoor Cable,CE (Unit:meter)
25030584 | ENPWRCBL01 | Power Cable,450V/750V,H07RN-F,2x1mm^2,Black(2Cores:Brown,Blue),15A,Rubber Cable,VDE (Unit:meter)
25030857 | C1016BL01 | Electronic¦Electric Cable,600V/1000V,ZA-YJV,5x16mm^2,Black(5Cores:Yellow,Green,Red,Blue,Black),96A
25030858 | C1025BL02 | Electronic¦Electric Cable,600V/1000V,ZA-YJV,5x25mm^2,Black(5Cores:Yellow,Green,Red,Blue,Black),119A
25031026 | C1010W501 | Power Cable,600V/1000V,ZA-RVV,5x10mm^2,Black(5Cores:Red,Yellow,Green,Blue,Black),63A,Outdoor Cable,CE (Unit:meter)
25030893 | C1024BL00 | Power Cable,600V/1000V,ZA-YJV,5x10mm^2,Black(5Cores:Yellow,Green,Red,Blue,Black),80A,CE (Unit:meter)
25030398 | C25ELECBK | Power Cable,300V/500V,60227 IEC 53(RVV),3x1.5mm^2,Black(3Cores:Brown,Blue,Yellow/Green),19.5A,Outdoor Cable,CCC,CE (Unit:meter)
4150791 | C25ELECBK01 | Power Cable,Leakage detection plate Power cord,5m,Terminal
25030361 | CSJTWB000 | Power Cable,300V,SJTW,3x16AWG,Black(3Cores:Black,White,Green),10A,Shielding Outdoor Cable,UL (Unit:meter)
25030386 | C3025BK00 | Power Cable,300V/500V,60227 IEC 53(RVV),3x2.5mm^2,Black(3Cores:Brown,Blue,Yellow/Green),27A,Outdoor Cable,CCC,CE (Unit:meter)
25031888 | C3006BK01 | Power Cable,600V/1000V,ZA-RVV,3x6mm^2,Black(3Cores:Brown,Blue,Yellow/Green),46A,Outdoor Cable,CE (Unit:meter)