## Sheet1
Air Conditioning System
52274281-002 | NetCol5000-C030H9HE0 | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol5000-C030H,2000H*300W*1200D,Horizontal Air Flow,Bottom Piping,Dual Power Supply,Humidifier,International Packaging
52274282-002 | NetCol5000-C065H9HE0 | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol5000-C065H,2000H*600W*1200D,Horizontal Air Flow,Bottom Piping,Dual Power Supply,Humidifier,International Packaging
52274274-001 | NetCol8000-C070D4WE0 | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol8000-C070D,2000H*900W*1000D,Downflow,Bottom Piping,Dual Power Supply,Heating&Humidifier,International packaging
52274275-001 | NetCol8000-C130D4FE0 | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol8000-C130D,2000H*1800W*1000D,Downflow,Bottom Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52274276-001 | NetCol8000-C190D4FE0 | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol8000-C190D,2000H*2700W*1000D,Downflow,Bottom Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52274277-001 | NetCol8000-C070U4WEC | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol8000-C070U,2000H*900W*1000D,Upflow,Left Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52274278-001 | NetCol8000-C130U4FEC | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol8000-C130U,2000H*1800W*1000D,Upflow,Left Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52274279-001 | NetCol8000-C190U4FEC | Smart Cooling Product,Chilled Water,Indoor Unit,NetCol8000-C190U,2000H*2700W*1000D,Upflow,Left Piping,Dual Power Supply,Heating&Humidifier,International Packaging
52274491 | FusionCol8000-C210H4 | Smart Cooling Product,Chilled Water,Indoor Unit,FusionCol8000-C210H,2450H*2350W*1100D,Horizontal Air Flow,Top Piping,Dual Power Supply,Humidifier,China Packaging
52274491-001 | FusionCol8000-C210H4 | Smart Cooling Product,Chilled Water,Indoor Unit,FusionCol8000-C210H,2450H*2350W*1100D,Horizontal Air Flow,Top Piping,Dual Power Supply,Heating&Humidifier,China Packaging
Optional Items
21500986 | IDSTAILFRME03 | 600 mm wide top frame, for extending 2000 mm high cabinets to 2200mm high/1200mm depth, used together with integrated UPS cabinets, integrated PDCs, modular precision PDCs, battery cabinets, or 600 mm wide air conditioners
33010293 | ESSSensor | Sensor-Smoke Sensor-12VDC-2 wire current mode output
02310VGR | ENR1DETA1 | Function Module,Point type,Dry contact type
4070412 | IDSSIGCBLE00 | Signal Cable,NetCol5000 Humidity and Temperature Sensor Signal Cable,10m,MP6,(CC4P0.48B(S)),MP6
4070012 | QWMC0000FE00 | Signal Cable,Shielded Straight Through Cable,10m,MP8-II,CC4P0.5GY(S),MP8-II,FTP
52272504 | 52272504 | Smart Cooling Product Auxiliary Material,Electric air valve,15000m^3/h-900*1000*141
52272505 | 52272505 | Smart Cooling Product Auxiliary Material,Electric air valve,30000m^3/h-1800*1000*141
52272506 | 52272506 | Smart Cooling Product Auxiliary Material,Differential pressure control module,0-500Pa
52272508 | 52272508 | Smart Cooling Product Auxiliary Material,Ventilator,600mmH*900mmW*1000mmD,Upward Air Flow,Chinese&English
52272509 | 52272509 | Smart Cooling Product Auxiliary Material,Gravity Damper,15000m^3/h,80*895*950
52272979 | 52272979 | Smart Cooling Product Auxiliary Material,Differential Pressure Sensor,0~50Pa,12VDC&0~5VDC
21242005 | IDS2CABCHAS0 | Lower sealing plates for 2000 mm high cabinets,front and rear sealing plates,for 600 mm wide cabinets,1 PCS for every two cabinets,dedicated for M-type cabinets
21242588 | FM500-AEE | FusionModule500-Accessories of earthquake
6310123 | TD-2021N-USB/S | Network Card,WIFI,1 port,USB 2.0,without Driver CD,2.4G, 802.11b/g/n, -20-70degC,split from 06310069
25030386 | C3025BK00 | Power Cable,300V/500V,60227 IEC 53(RVV),3x2.5mm^2,Black(3Cores:Brown,Blue,Yellow/Green),27A,Outdoor Cable,CCC,CE (Unit:meter)
04071114-001 | MCSEYVP5m01 | Signal Cable,T&H cable,5m,(MP8-I),(SEYVP),(MP6-I),Power supply
33010516 | EBTSensor005 | temperature and humidity sensor
33010352 | 33010352 | Sensor-Non positioning water immersion sensor-12VDC-NO/NC-Standard 5m immersion rope, maximum extension to 50m
33010445 | 33010445 | Sensor-Liquid Level Sensor-Non positioning water immersion sensor detecting rope-5m
52274652 | 52274652 | Smart Cooling Product Auxiliary Material,Electric air valve,Encoding includes material 4pcs
Cabling System
25030828 | IDSPWRCBL006 | Power Cable,600V/1000V,ZA-RVV,5x6mm^2,Black(5Cores:Red,Yellow,Green,Blue,Black),46A,Outdoor Cable,CE (Unit:meter)
25030829 | IDSPWRCBL002 | Power Cable,600V/1000V,ZA-RVV,5x2.5mm^2,Black(5Cores:Red,Yellow,Green,Blue,Black),27A,Outdoor Cable,CE (Unit:meter)
25031025 | IDSPWRCBL007 | Power Cable,600V/1000V,ZA-RVV,5x4mm^2,Black(5Cores:Red,Yellow,Green,Blue,Black),36A,Outdoor Cable,CE (Unit:meter)
25030584 | ENPWRCBL01 | Power Cable,450V/750V,H07RN-F,2x1mm^2,Black(2Cores:Brown,Blue),15A,Rubber Cable,VDE (Unit:meter)
4150791 | C25ELECBK01 | Power Cable,Leakage detection plate Power cord,5m,Terminal
25031888 | C3006BK01 | Power Cable,600V/1000V,ZA-RVV,3x6mm^2,Black(3Cores:Brown,Blue,Yellow/Green),46A,Outdoor Cable,CE (Unit:meter)
25031628 | CBLK01003 | AC Input Power Cable, ZA-RVV, 4 Cores, 10mm^2, 600V, 57A, Brown, Black, Gray, Blue