## Sheet1
Micro-Grid Inverter
01073683-001 | SUN2000-150KTL-S0 | Micro-Grid Power Control System, SUN2000-150KTL-S0, PV or AC Input,150kVA, 600mm (W) * 850mm (D) * 2000mm (H), Natural Heat Dissipation, GPRS/DGIO/BPM/1*HSU
01073683-002 | SUN2000-150KTL-S0 | Micro-Grid Power Control System, SUN2000-150KTL-S0, PV or AC Input,150kVA, 600mm (W) * 850mm (D) * 2000mm (H), Natural Heat Dissipation, GPRS/DGIO/BPM/2*HSU
01073683-003 | SUN2000-150KTL-S0 | Micro-Grid Power Control System, SUN2000-150KTL-S0, PV or AC Input,150kVA, 600mm (W) * 850mm (D) * 2000mm (H), Natural Heat Dissipation, GPRS/DGIO/BPM/3*HSU
01073683-004 | SUN2000-150KTL-S0 | Micro-Grid Power Control System, SUN2000-150KTL-S0, PV or AC Input,150kVA, 600mm (W) * 850mm (D) * 2000mm (H), Natural Heat Dissipation, GPRS/DGIO/BPM/4*HSU
01073683-005 | SUN2000-150KTL-S0 | Micro-Grid Power Control System, SUN2000-150KTL-S0, PV or AC Input,150kVA, 600mm (W) * 850mm (D) * 2000mm (H), Natural Heat Dissipation, GPRS/DGIO/BPM/5*HSU
2403710 | ITC80D | Power Distribution Cabinet, ITC80D, 380Vac Three-Phase, 80kVA, 800mm (W) * 850mm (D) * 2000mm (H), Transformer Cabinet, With Class A SPD, Direct Ventilation
2403714 | ITC200D | Power Distribution Cabinet, ITC200D, 380Vac Three-Phase, 200KVA, 800mm (W) * 850mm (D) * 2000mm (H), Transformer Cabinet, With Class A SPD, Direct Ventilation
02232QRA | APPC500001 | PowerCube 5000 Accessories Package1
02232QQC | APPC500002 | PowerCube 5000 Cable pack 1 Spare Part
02232QQY | APPC500003 | PowerCube 5000 Cable pack 2 Spare Part
27012691 | OASF08 | Omni-directional Antenna,698-960M/1710-2700M, &gt; =1.0dBi(698-960M)& &gt; =2.5dBi(1710-2700M),perpendicular polarization,omnidirectional,10W,SMA-J
21153852 | DKBA41510376 | Telecom Energy,Antenna mounting bracket
33010293 | ESSSensor | Sensor-Smoke Sensor-12VDC-2 wire current mode output
4080579 | MAC02002 | Monitor&Alarm Cable, Smoke Sensor Cable, 20m, 2*22AWG
02231ECT | ETHSensor2 | Environment Temperature Sensor ,with 5.0m signal cable
4080578 | MAC02001 | Monitor&Alarm Cable, TEM_HUM Sensor Cable, 20m, 4*20AWG
02311XTB | HSU-33K | Function Module,33kVA Power Convertion Unit,3U,PowerCube 5000-S
Lithium battery system
02312RYS | SmartLi-672V-100AH-F | SmartLi-Lithium battery cabinet-full configuration (with monitor)
02312RYT | SmartLi-672V-100AH-S | SmartLi-Lithium battery slave cabinet-standard configuration(without monitor)
1074873 | ESM-48100A8 | Energy Storage Module, ESM-48100A8, 48V, 100Ah, 442mm (W) * 560mm (D) * 160mm (H)
50101072 | Smart ETH gateway_5*FE | Other Network Accessory,Smart ETH gateway_5*FE,with config,Chinese and English doc
02233CCY | AP-SmartLi-01 | SmartLi Accessories Package
4070051 | SIGCBL30MGRAY | Signal Cable,Shielded Straight Through Cable,30m,MP8-II,CC4P0.5GY(S),MP8-II,FTP
Accessory Materials
25030205 | C1050RE02 | Power Cable,600V/1000V,ZA-RVV,50mm^2,Red,168A,Single-core Double Insulation,CE (Unit:meter)
25030203 | C1050BL02 | Power Cable,600V/1000V,ZA-RVV,50mm^2,Black,168A,Single-core Double Insulation,CE (Unit:meter)
25030260 | C1025YG01 | Power Cable,600V/1000V,ZA-RVV,25mm^2,Yellow/Green,112A,Single-core Double Insulation,CE (Unit:meter)
25030393 | ENCable7A000 | Power Cable,300V/500V,60227 IEC 53(RVV),2x0.75mm^2,Black(2Cores:Brown,Blue),6A,Flat Outdoor Cable,CCC,CE (Unit:meter)
Optional Component
21240502 | UPSE00IP2100 | IP21 Kit,UPS5000 Optional Accessory
25030296 | C1050YG01 | Power Cable,600V/1000V,ZA-RVV,50mm^2,Yellow/Green,168A,Single-core Double Insulation,CE (Unit:meter)
25030202 | C1150BL00 | Power Cable,600V/1000V,ZA-RVV,150mm^2,Black,344A,Single-core Double Insulation,CE (Unit:meter)
25030980 | C1150RE00 | Power Cable,600V/1000V,ZA-RVV,150mm^2,Red,344A,Single-core Double Insulation,CE (Unit:meter)