## Sheet1
OceanStor Dorado 3000 V6 Main Equipment
Dual-Controller Unit 1
SAS Controller Enclosure
02353BBF | D3V6-192G-SAS-DC-TPM | OceanStor Dorado 3000 V6(2U,Dual Ctrl,SAS,AC\240V HVDC,192GB Cache,8*1Gb ETH,8*10Gb ETH,4*(4*12Gb) SAS,25*2.5",SPE35C0225)
Expanding Interface Module
3058968 | DV6-SMARTIO4*8FC-ML | 4 ports SmartIO I/O module(SFP+,8Gb FC)
3058969 | DV6-SMARTIO4*16FC-ML | 4 ports SmartIO I/O module(SFP+,16Gb FC)
3058970 | DV6-SMARTIO4*32FC-ML | 4 ports SmartIO I/O module(SFP28,32Gb FC)
3058971 | DV6-SMARTIO4*10E-ML | 4 ports SmartIO I/O module(SFP+,10Gb ETH)
3058972 | DV6-SMARTIO4*25E-ML | 4 ports SmartIO I/O module(SFP28,25Gb ETH)
3058973 | DV6-LPU2*40ETH-ML | 2 ports 40Gb ETH I/O module(QSFP+,40Gb ETH)
3058976 | DV6-LPU4*1ETH-ML | 4 ports 1Gb ETH I/O module(RJ45)
3058974 | DV6-LPU2*100ETH-ML | 2 ports 100Gb ETH I/O module(QSFP28,100Gb ETH/for Front-End)
3059525 | DV6-SOUT-25GRDMA | 4 ports 25Gb RDMA I/O module(SFP28,Scale-out for direct connection)
3058977 | DV6-LPU4*12SAS-ML | 4 ports 4*12Gb SAS I/O module(MiniSAS HD)
SAS Disk Components
02353BGB | D3V6-SSD-SAS-960G | 960GB SSD SAS Disk Unit(2.5")
02353BGD | D3V6-SSD-SAS-1.92T | 1.92TB SSD SAS Disk Unit(2.5")
02353BGE | D3V6-SSD-SAS-3.84T | 3.84TB SSD SAS Disk Unit(2.5")
02353BGF | D3V6-SSD-SAS-7.68T | 7.68TB SSD SAS Disk Unit(2.5")
02353BGH | D3V6SAS-3.84T-E | 3.84TB SSD SAS Encryption Disk Unit(2.5")
02353BGJ | D3V6-SSD-SAS-7.68T-E | 7.68TB SSD SAS Encryption Disk Unit(2.5")
SAS Disk Enclosure
02352TRF | DV6-SAS-DAE25-2U-DC | SAS Disk Enclosure(2U,AC\240V HVDC,2.5",Expansion Module,25 Disk Slots,Without Disk Units,DAE62525U2-10)
Dual-Controller Unit 2
SAS Controller Enclosure
02353BBF | D3V6-192G-SAS-DC-TPM | OceanStor Dorado 3000 V6(2U,Dual Ctrl,SAS,AC\240V HVDC,192GB Cache,8*1Gb ETH,8*10Gb ETH,4*(4*12Gb) SAS,25*2.5",SPE35C0225)
Expanding Interface Module
3058968 | DV6-SMARTIO4*8FC-ML | 4 ports SmartIO I/O module(SFP+,8Gb FC)
3058969 | DV6-SMARTIO4*16FC-ML | 4 ports SmartIO I/O module(SFP+,16Gb FC)
3058970 | DV6-SMARTIO4*32FC-ML | 4 ports SmartIO I/O module(SFP28,32Gb FC)
3058971 | DV6-SMARTIO4*10E-ML | 4 ports SmartIO I/O module(SFP+,10Gb ETH)
3058972 | DV6-SMARTIO4*25E-ML | 4 ports SmartIO I/O module(SFP28,25Gb ETH)
3058973 | DV6-LPU2*40ETH-ML | 2 ports 40Gb ETH I/O module(QSFP+,40Gb ETH)
3058976 | DV6-LPU4*1ETH-ML | 4 ports 1Gb ETH I/O module(RJ45)
3058974 | DV6-LPU2*100ETH-ML | 2 ports 100Gb ETH I/O module(QSFP28,100Gb ETH/for Front-End)
3059525 | DV6-SOUT-25GRDMA | 4 ports 25Gb RDMA I/O module(SFP28,Scale-out for direct connection)
3058977 | DV6-LPU4*12SAS-ML | 4 ports 4*12Gb SAS I/O module(MiniSAS HD)
SAS Disk Components
02353BGB | D3V6-SSD-SAS-960G | 960GB SSD SAS Disk Unit(2.5")
02353BGD | D3V6-SSD-SAS-1.92T | 1.92TB SSD SAS Disk Unit(2.5")
02353BGE | D3V6-SSD-SAS-3.84T | 3.84TB SSD SAS Disk Unit(2.5")
02353BGF | D3V6-SSD-SAS-7.68T | 7.68TB SSD SAS Disk Unit(2.5")
02353BGH | D3V6SAS-3.84T-E | 3.84TB SSD SAS Encryption Disk Unit(2.5")
02353BGJ | D3V6-SSD-SAS-7.68T-E | 7.68TB SSD SAS Encryption Disk Unit(2.5")
SAS Disk Enclosure
02352TRF | DV6-SAS-DAE25-2U-DC | SAS Disk Enclosure(2U,AC\240V HVDC,2.5",Expansion Module,25 Disk Slots,Without Disk Units,DAE62525U2-10)
Auxiliary Equipment
02352ESU | orum-1U16G | Quorum Server(1U, AC\240HVDC,16GB Cache,Including OS,H12H-05)
Cabinet Components
0211G06G | RACK-42U-1 | 42U Storage AC Cabinet
2121212 | PDU2K-32-1P-20/4 | AC Power Distribution Unit
2121690 | PDU2000-3M | AC Power Distribution Unit
Installation Material
14130858 | SN2F01FCPC | Patch Cord,DLC/PC,DLC/PC,Multi-mode,3m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130860 | SN2F02FCPC | Patch Cord,DLC/PC,DLC/PC,Multi-mode,10m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130862 | SN2F03FCPC | Patch Cord,DLC/PC,DLC/PC,Multi-mode,20m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130863 | SN2F11FCPC | Patch Cord,DLC/PC,DLC/PC,Multi-mode,30m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130864 | SN2F04FCPC | Patch Cord,DLC/PC,DLC/PC,Multi-mode,40m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130865 | FC-OM3-50m | Patch Cord,DLC/PC,DLC/PC,Multi-mode,50m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130866 | SN2F05FCPC | Patch Cord,DLC/PC,DLC/PC,Multi-mode,60m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130868 | SN2F06FCPC | Patch Cord,DLC/PC,DLC/PC,Multi-mode,80m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
14130870 | FC-OM3-100m | Patch Cord,DLC/PC,DLC/PC,Multi-mode,100m,A1a.2,2mm,42mm DLC,OM3 bending insensitive
4051355 | C0QSFP28 | 100G QSFP28 Passive High Speed Cable,1m,ETH 100GbE
4052182 | HSC-100G QSFP28-2M | High Speed Cable,100G QSFP28 Passive High Speed Cable,2m,QSFP28,CC8P0.4B(S),QSFP28,ETH 100GbE only for Storage
4051356 | C1M100GBK3M | 100G QSFP28 Passive High Speed Cable,3m,ETH 100GbE
34061088 | HSC-QSFP28 AOC-10M | Optical transceiver,QSFP28 to QSFP28 AOC,100G,0.01km
4052247 | HS-SAS-1-02 | High Speed Cable,48G External MiniSAS HD Cable,1m,SFF 8644 Plug,28AWG*4P*2B(S),SFF 8644 Plug,indoor,SAS 3.0
4052249 | HS-SAS-2-02 | High Speed Cable,48G External MiniSAS HD Cable,2m,SFF 8644 Plug,28AWG*4P*2B(S),SFF 8644 Plug,indoor,SAS 3.0,LSZH
4052252 | HS-SAS-3-02 | High Speed Cable,48G Mini SAS HD Cable,3m,SFF 8644 Plug,28AWG*4P*2B(S),SFF 8644 Plug,indoor,SAS 3.0,LSZH
4052254 | HS-SAS-5-02 | High Speed Cable,48G Mini SAS HD Cable,5m,SFF 8644 Plug,26AWG*4P*2B(S),SFF 8644 Plug,Indoor,SAS 3.0
34060874 | ST-SAS-15-01 | Active Optical Cable Assembly,MiniSAS HD AOC,2.5G~12G,0.015km
14137113 | SN2F03DLCPC4 | Patch Cord,DLC/PC,DLC/PC,Multi-mode,3m,A1a.3,2mm,42mm DLC,OM4 bending insensitive
14137113-001 | SN2F10DLCPC4 | Patch Cord,DLC/PC,DLC/PC,Multi-mode,10m,A1a.3,2mm,42mm DLC,OM4 bending insensitive
14137113-002 | SN2F20DLCPC4 | Patch Cord,DLC/PC,DLC/PC,Multi-mode,20m,A1a.3,2mm,42mm DLC,OM4 bending insensitive
14137113-003 | SN2F50DLCPC4 | Patch Cord,DLC/PC,DLC/PC,Multi-mode,50m,A1a.3,2mm,42mm DLC,OM4 bending insensitive
14137261 | SN2F100DLCPC4 | Patch Cord,DLC/PC,DLC/PC,Multi-mode,100m,A1a.3,2mm,42mm DLC,OM4 bending insensitive
14137264 | SN2F03MPOPC4 | Optical Cable Parts,MPO/PC,MPO/PC,MULTI-MODE,3m,8 CORES,0m/0m,GJFV-8A1A.3(OM4),3.5mm,43mm MPO,Bending insensitive
14137264-001 | SN2F10MPOPC4 | Optical Cable Parts,MPO/PC,MPO/PC,MULTI-MODE,10m,8 CORES,0m/0m,GJFV-8A1A.3(OM4),3.5mm,43mm MPO,Bending insensitive
14137264-002 | SN2F20MPOPC4 | Optical Cable Parts,MPO/PC,MPO/PC,Multi-mode,20m,8 CORES,0m/0m,GJFV-8A1A.3(OM4),3.5mm,43mm MPO,Bending insensitive
14137264-003 | SN2F50MPOPC4 | Optical Cable Parts,MPO/PC,MPO/PC,Multi-mode,50m,8 CORES,0m/0m,GJFV-8A1A.3(OM4),3.5mm,43mm MPO,Bending insensitive
14137266 | SN2F100MPOPC4 | Optical Cable Parts,MPO/PC,MPO/PC,Multi-mode,100m,8 CORES,0m/0m,GJFV-8A1a.3(OM4),3.5mm,43mm MPO,Bending insensitive
4051353 | C1M25GBK3M | 25G SFP28 Passive High Speed Cable,3m
34061316-003 | SFP28-AOC-010 | Active Optical Cable Assembly,SFP28 AOC,25.78125G,0.01km
Storage Accessories Package
External Cable Suite,Storage,External Cable Suite
Input Power Cable
25031888 | C3006BK01 | Power Cable,600V/1000V,ZA-RVV,3x6mm^2,Black(3Cores:Brown,Blue,Yellow/Green),46A,Outdoor Cable,CE (Unit:meter)
25030828 | IDSPWRCBL006 | Power Cable,600V/1000V,ZA-RVV,5x6mm^2,Black(5Cores:Red,Yellow,Green,Blue,Black),46A,Outdoor Cable,CE (Unit:meter)
25030640 | P-16mm^2-Y/G-LSZH | Power Cable,450V/750V,H07Z-K UL3386,16mm^2,Yellow/Green,107A,LSZH Cable,VDE,UL (Unit:meter)
OceanStor Dorado 3000 V6 (Quoted Senario: Default Scenarios:Default Scenarios;Supporting HardwareRAID 6,Hot Spare Policy: 1 disk,Dual Power Supply)
88035XBL | D3V6-LBS-AllSoftware | All-Software License Package (Including DeviceManager,SmartThin,SmartMigration,HyperSnap,HyperReplication,HyperClone,HyperMetro,SmartQoS,SmartErase,eService)
88035XDB | D3V6-LBS-Basic | Basic Software Licenses (Including DeviceManager,SmartThin,SmartMigration,HyperSnap,HyperReplication,HyperClone,SmartQoS,SmartErase,eService)
88035XDF | D3V6-LBS-C-General | Capacity License (per TiB Effective Capacity,Including SmartDedupe&SmartCompression)
88035XDH | D3V6-LBS-Virtual | SmartVirtualization License
88035XDK | D3V6-LBS-HyperMetro | HyperMetro License
88035XDL | D3V6-LBS-HyperCDP | HyperCDP License