## Sheet1
NetEngine 8000 F1A-Hardware
2116093 | DP0B02RACK00 | A66E Rack(2200*600*650mm)
02353AEW | CR8PF1ABASC2 | NetEngine 8000 F1A-8H20Q Basic Configuration Bundle (Includes F1A-8H20Q Chassis, Fixed Interface(8*100GE+20*25GE+28*10GE),2*DC Power,Port-side Intake,without Software and Document)
02353AEV | CR8PF1ABASC3 | NetEngine 8000 F1A-8H20Q Basic Configuration Bundle (Includes F1A-8H20Q Chassis, Fixed Interface(8*100GE+20*25GE+28*10GE),2*AC Power,Port-side Intake,without Software and Document)
02352CAB | FAN-031A-B | Fan box(B,FAN panel side exhaust)
Optical Transceiver
100G Optical Transceiver
02311NTY | OMND10N13 | High Speed Transceiver,QSFP28,850nm,100G,-8.4dBm,2.4dBm,-10.3dBm,MPO,MM,0.1km,OM4
02311QDH | OSN020N15 | High Speed Transceiver,QSFP28,1310nm,4*25GBase,-6.5dBm,2.5dBm,-9.8dBm,LC/PC,2km (100GBASE-CWDM4)
02312BSS | OSN010N24 | High Speed Transceiver,QSFP28,1310nm,100G,-4.3dBm,4.5dBm,-8.6dBm,LC,SMF,10km
02312NVQ | QSFP28-100G-1310-40km-SM | High Speed Transceiver,QSFP28,1310nm,100G,-2.9dBm,2.9dBm,-20.9dBm,LC,40km
02312NCX | QSFP28-100G-1310-80km-SM | High Speed Transceiver,QSFP28,1310nm,100G,2dBm,6.5dBm,-28dBm,LC,SMF,80km
100G Breakout Optical Transceiver
02311NTY | OMND10N13 | High Speed Transceiver,QSFP28,850nm,100G,-8.4dBm,2.4dBm,-10.3dBm,MPO,MM,0.1km,OM4
50G Optical Transceiver
02311YNR | OSL010N01 | High Speed Transceiver,QSFP28,1311nm,50Gb/s,-4dBm,4.2dBm,-8.8dBm,LC,SMF,10km
02312AXF | QSFP28-50G-1311nm-40km-SM | High Speed Transceiver,QSFP28,1311nm,50Gb/s,1.5dBm,8dBm,-15dBm,Stright LC,SMF,40km
02312MLF | QSFP28-50G-1310nm-80km-SM | High Speed Transceiver-QSFP28-1310nm-50G-9.5dBm--30dBm-LC-SMF-80km
40G Optical Transceiver
02310WUU | OMXD30010 | High Speed Transceiver,QSFP+,850nm,41.25Gbps,-7.6dBm,0.5dBm,-9.5dBm,MPO,MMF,0.15km
02310WUT | OMXD30009 | High Speed Transceiver,QSFP+,1310nm,41.25Gbps,-7dBm,2.3dBm,-11.5dBm,LC,SMF,10km
40G Breakout Optical Transceiver
02310WUU | OMXD30010 | High Speed Transceiver,QSFP+,850nm,41.25Gbps,-7.6dBm,0.5dBm,-9.5dBm,MPO,MMF,0.15km
02311NUA | OSM010N11 | High Speed Transceiver,QSFP+,1310,41.25Gbps,-8.2dBm,0.5dBm,-12.6dBm,MPO,SM,10km
25G Optical Transceiver
02312PDK | SFP28-25G-850nm-0.1km-MM | High Speed Transceiver,SFP28,850nm,25G,-8.4dBm,2.4dBm,-10.3dBm,LC,MM,0.1km
02312PDL | SFP28-25G-1310nm-10km-SM | High Speed Transceiver,SFP28,1310nm,25G,-7dBm,2dBm,-11.3dBm,LC,SMF,10km
10G SFP+ Optical Transceiver
S4017482 | OSX040N03 | Optical Transceiver(SFP+,850nm,10Gb/s,-7.3~-1dBm,-9.9dBm,LC, MM,0.3km)
S4017483 | OSX001002 | Optical Transceiver(SFP+,1310nm,10Gb/s,-8.2~0.5dBm,-12.6dBm,LC,SM,10km)
34061042 | OSX010N13 | XFP SFP+ Transceiver-SFP+-1310nm-10G/1G--8.2dbm-0.5dbm-Single-mode-14.4dbm-LC-10km
S4017484 | OMXD30002 | Optical Transceiver(SFP+,1550nm,9.95~11.1Gb/s,-4.7~4dBm,-14.1dBm,LC,SM,40km)
02310PVU | OSX080N04 | Optical Transceiver(SFP+,1550nm,9.953~10.3125Gb/s,0~4dBm,-24dBm,LC,SM,80km)
1G SFP/eSFP Optical/Electrical Transceiver
S4017307 | OMGD50N02 | Optical Transceiver(eSFP,850nm,2.125Gb/s(Multi rate),-9.5~-2.5dBm,-17dBm,LC,MM,0.5km)
S4016067 | OSG010N05 | Optical transceiver(eSFP,1310nm,1.25Gb/s,-9dBm~-3dBm,-20dBm,LC,SM,10km)
S4016954 | OSG040002 | Optical Transceiver(eSFP,1310nm,1.25Gb/s,-5~0dBm,-23dBm,LC,SM,40km)
02310RAW | OSG080N01 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-2~5dBm,-23dBm,LC,SM,80km
155M SFP/eSFP Optical Transceiver
S4015755 | eSFP-FE-LX-SM1310 | Optical Transceiver(eSFP,1310nm,STM1,-15dBm~-8dBm,-28dBm,Singlemode,LC,15Km)
S4015715 | eSFP-FE-LH40-SM1310 | Optical Transceiver(eSFP,1310nm,STM1,-5dBm~0dBm,-37dBm,Singlemode,LC,40Km)
S4015716 | eSFP-FE-LH80-SM1550 | Optical Transceiver(eSFP,1550nm,STM1,-5dBm~0dBm,-37dBm,Singlemode,LC,80Km)
BIDI Optical Transceiver
02312EVW | QSFP28-50G-BIDI-10km-SM-2 | BiDi Transceiver,QSFP28,1271nm(TX)/1331nm(RX),50G,-4.5dBm,4.2dBm,-8.9dBm,LC,10km
02312EVV | QSFP28-50G-BIDI-10km-SM-1 | BiDi Transceiver,QSFP28,1331nm(TX)/1271nm(RX),50G,-4.5dBm,4.2dBm,-8.9dBm,LC,10km
02312EVX | QSFP28-50G-BIDI-40km-SM-2 | BiDi Transceiver,QSFP28,1295nm(TX)/1309nm(RX),50G,1.5dBm,8dBm,-13.5dBm,LC-SMF-40km
02312EVY | QSFP28-50G-BIDI-40km-SM-1 | BiDi Transceiver,QSFP28,1309nm(TX)/1295nm(RX),50G,1.5dBm,8dBm,-13.5dBm,LC,SMF,40km
02312TXG | SFP28-25G-BIDI-10km-SM-4 | BiDi Transceiver,SFP28,1330nm(Tx)/1270nm(Rx),25Gb/s,-4dBm,2dBm,-10.3dBm,LC,10km,-40~85degc
02312TVC | SFP28-25G-BIDI-10km-SM-3 | BiDi Transceiver,SFP28,1270nm(Tx)/1330nm(Rx),25Gb/s,-4dBm,2dBm,-10.3dBm,LC,10km,-40~85degc
34060470 | SFP-GE-LX-SM1310-BIDI | BiDi Transceiver,eSFP,Tx1310nm/Rx1490nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060475 | SFP-GE-LX-SM1490-BIDI | BiDi Transceiver,eSFP,Tx1490nm/Rx1310nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060539 | OGEBIDI41 | Optical Transceiver,eSFP,1310nm(Tx)/1490nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
34060540 | OGEBIDI40 | Optical Transceiver,eSFP,1490nm(Tx)/1310nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
02310QNG | OSC015B01 | Optical transceiver,eSFP,Tx 1310nm/Rx 1550nm,155M,-8dBm,-15dBm,-32dBm,LC/PC,SM,15km
02310QNH | OSC015B02 | Optical transceiver,eSFP,Tx 1550nm/Rx 1310nm,STM1,-8dBm,-15dBm,-32dBm,LC/PC,SM,15km
1G SFP/eSFP Optical Transceiver(Industry Level)
02310VPT | OEGD01N02 | Optical functional module,1000BASE-T -SFP RJ45Electrical Module,Auto Negotiate,100m ,-40~85degC
NetEngine 8000 F1A- Power
02311ECL | CR5M0DCPDU00 | DC Power Distribition Unit
02312JVG | PDC1000S12-CB | 1000W DC Power Module(Back to Front,Power panel side exhaust)
02312FFU | PAC600S12-CB | 600W AC Power Module(Back to Front, Power panel side exhaust)
NetEngine 8000 F1A,Software
88035YMT | N1-N8KF1F-LIC | N1-NetEngine 8000 F1 Series Foundation SW License
88035YMU | N1-N8KF1A-LIC | N1-NetEngine 8000 F1 Series Advanced SW License
88036AXU | N1-N8KF1F2A-LIC | N1-NetEngine 8000 F1 Series Foundation to Advanced SW License
88035YMV | N1-N8KF1TMSY-LIC | N1-NetEngine 8000 F1 Series Time Synchronization Function License
88035YMW | N1-N8KF1SRV6-LIC | N1-NetEngine 8000 F1 Series SRv6 Function License
88035YMX | N1-N8KF1SLI-LIC | N1-NetEngine 8000 F1 Series Port Slicing Function License
88036FLA | N1-N8KF1MED-LIC | N1-NetEngine 8000 F1 Media Fabric Function License
NetEngine 8000 F1A,Software Subscription and Support, 1 Year
88060TKA | N1-N8KF1F-SNS1Y | N1-NetEngine 8000 F1 Series Foundation SW License SnS(1 year)
88060TKC | N1-N8KF1A-SNS1Y | N1-NetEngine 8000 F1 Series Advanced SW License SnS(1 year)
88060UEU | N1-N8KF1F2A-SNS1Y | N1-NetEngine 8000 F1 Series Foundation to Advanced SW License SnS(1 year)
88060TKE | N1-N8KF1TMSY-SNS1Y | N1-NetEngine 8000 F1 Series Time Synchronization Function License SnS(1 year)
88060TKG | N1-N8KF1SRV6-SNS1Y | N1-NetEngine 8000 F1 Series SRv6 Function License SnS(1 year)
88060TKJ | N1-N8KF1SLI-SNS1Y | N1-NetEngine 8000 F1 Series Port Slicing Function License SnS(1 year)
88060YWU | N1-N8KF1MED-SNS1Y | N1-NetEngine 8000 F1 Media Fabric Function License SnS(1 year)
NetEngine 8000 F1A-Document
31180BJK | CR8I8CDOCEC2 | HUAWEI NetEngine 8000 F Series Router Product Documentation
Installation Material
Optical Patch Cord
14130001 | SS-OP-AD-FC-FC | Adapter,FC-FC,2,Silvery white,Shell:Metal,Sleeve:Zirconia,Round
14130134 | QW1P0FIBER04 | Optical Adapter,SC/UPC,SC/UPC,Blue,Shell:Plastic,Sleeve:Zirconia,Square
2082890 | ODBS10040 | 10-Port MPO-12-40-Port LC Breakout Box (single-mode)
14131654-003 | FMLF00301 | Patch Cord,LC/PC,FC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,3m,LSZH
14131654-004 | FMLF00501 | Patch Cord,LC/PC,FC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,5m,LSZH
14131654 | SS-OP-FC/LC-M-10 | Patch Cord,LC/PC,FC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,10m,LSZH
14131654-001 | SS-OP-FC/LC-M-20 | Patch Cord,LC/PC,FC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,20m,LSZH
14131654-002 | SS-OP-FC/LC-M-30 | Patch Cord,LC/PC,FC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,30m,LSZH
14131654-005 | LC-FC-M3-50 | Patch Cord,LC/PC,FC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,50m,LSZH
14130962 | FSLF00301 | Patch Cord,LC/UPC,FC/UPC,Single-mode,3m,G.657A2,2mm
14130982 | FSLF00502 | Patch Cord,LC/UPC,FC/UPC,Single-mode,5m,G.657A2,2mm
14130673 | FSFL00701 | Patch Cord,LC/UPC,FC/UPC,Single-mode,7m,G.657A2,2mm
14130665 | FSFL01001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,10m,G.657A2,2mm
14130674 | FSFL01501 | Patch Cord,LC/UPC,FC/UPC,Single-mode,15m,G.657A2,2mm
14130666 | FSFL02001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,20m,G.657A2,2mm
14130676 | FSFL03001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,30m,G.657A2,2mm
14130678 | FSFL05001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,50m,G.657A2,2mm
14131650-004 | SS-OP-LC/LC-M-5 | Patch Cord,LC/PC,LC/PC,Multi-mode,5m,A1a.2,2mm,LSZH,42mm LC,OM3 bending insensitive
14131650 | SS-OP-LC/LC-M-10 | Patch Cord,LC/PC,LC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,10m,LSZH
14131650-001 | SS-OP-LC/LC-M-20 | Patch Cord,LC/PC,LC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,20m,LSZH
14131650-002 | SS-OP-LC/LC-M-30 | Patch Cord,LC/PC,LC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,30m,LSZH
14130667 | FSLL00301 | Patch Cord,LC/UPC,LC/UPC,Single-mode,3m,G.657A2,2mm
14130661-001 | FSLL1D504 | Patch Cord,LC/UPC,LC/UPC,Single-mode,5m,G.657A2,2mm
14130668 | FSLL00602 | Patch Cord,LC/UPC,LC/UPC,Single-mode,6m,G.657A2,2mm
14130669 | FSLL01003 | Patch Cord,LC/UPC,LC/UPC,Single-mode,10m,G.657A2,2mm
14130670 | FSLL02003 | Patch Cord,LC/UPC,LC/UPC,Single-mode,20m,G.657A2,2mm
14130671 | FSLL03001 | Patch Cord,LC/UPC,LC/UPC,Single-mode,30m,G.657A2,2mm
14131655 | LC-SC-M3-10 | Patch Cord,LC/PC,SC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,10m,LSZH
14131655-001 | LC-SC-M3-20 | Patch Cord,LC/PC,SC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,20m,LSZH
14131655-002 | LC-SC-M3-30 | Patch Cord,LC/PC,SC/PC,Multi-mode,GJFJH-A1a(OM3,bending insensitive),2mm,30m,LSZH
14130679 | FSSL00501 | Patch Cord,LC/UPC,SC/UPC,Single-mode,5m,G.657A2,2mm
14130680 | FSSL01001 | Patch Cord,LC/UPC,SC/UPC,Single-mode,10m,G.657A2,2mm
14130685 | FSSL02001 | Patch Cord,LC/UPC,SC/UPC,Single-mode,20m,G.657A2,2mm
14130682 | FSSL03001 | Patch Cord,LC/UPC,SC/UPC,Single-mode,30m,G.657A2,2mm
14130823-001 | FMMM01501 | Optical Cable Parts,MPO/PC,MPO/PC,Multimode(OM3,Bending Insensitive),15m,8 Cores,0m/0m,GJFH 8A1a,3.5mm,LSZH,42mm Short MPO,Indoor
14130823-002 | FMMM03001 | Optical Cable Parts,MPO/PC,MPO/PC,Multimode(OM3,Bending Insensitive),30m,8 Cores,0m/0m,GJFH 8A1a,3.5mm,LSZH,42mm Short MPO,Indoor
14130823-003 | FMMM10001 | Optical Cable Parts,MPO/PC,MPO/PC,Multimode(OM3,Bending Insensitive),100m,8 Cores,0m/0m,GJFH 8A1a,3.5mm,LSZH,42mm Short MPO,Indoor
14134759 | MPO12-MPO12-SM-10 | Optical Cable Parts,MPO/APC,MPO/APC,Single mode,10m,8 cores,GJFH-8G.657A2,3.5mm,LSZH,43mm Short MPO,Bending insensitive
14132538 | MPO12-4DLC-SM-15 | Optical Cable Assembly,MPO/APC,4*DLC/PC,Singlemode,GJFH 8G.657A2(LSZH),15m,3.5mm,8 Cores,0m/1m,2mm
14136626 | MPO12-4DFC-SM-15 | Optical Cable Parts,MPO/APC,8FC/UPC,SINGLE MODE,15m,8 CORES,0/1m,GJFH-8G.657A2,3.5mm,2mm,LSZH,43MM SHORT MPO,BENDING INSENSITIVE
14136627 | MPO12-4DSC-SM-15 | Optical Cable Parts,MPO/APC,8SC/UPC,SINGLE MODE,15m,8 CORES,0/1m,GJFH-8G.657A2,3.5mm,2mm,LSZH,43MM SHORT MPO,BENDING INSENSITIVE
14132537 | SS-OP-MPO12-4*DLC-M-5 | Optical Cable Assembly,MPO/PC,4*DLC/PC,Multimode(OM3,Bending Insensitive),GJFH 8A1a(LSZH),5m,3.5mm,8 Cores,0m/1m,2mm
14132537-005 | SS-OP-MPO12-4*DLC-M-15B | Optical Cable Parts,MPO/PC,4DLC/PC,Multi-mode,15m,8 cores,0/1m,GJFH-8A1a.2(OM3),3.5mm,2mm,LSZH,43mm Short MPO,Bending insensitive
14132537-006 | SS-OP-MPO12-4*DLC-M-30 | Optical Cable Parts,MPO/PC,4DLC/PC,MULTI-MODE,30m,8 CORES,0/1m,GJFH-8A1A.2(OM3),3.5MM,2mm,LSZH,43MM SHORT MPO,BENDING INSENSITIVE
14132537-001 | SS-OP-MPO12-4*DLC-M-100 | Optical Cable Parts,MPO/PC,4DLC/PC,Multi-mode,100m,8 cores,0/1m,GJFH-8A1a.2(OM3),3.5mm,2mm,LSZH,43mm Short MPO,Bending insensitive
Fixed Optical Attenuator
45030021 | SS-OP-ATN-LC-5 | Fixed Optical Attenuator,1260nm~1620nm-5dB-LC/PC-45dB
45030022 | SS-OP-ATN-LC-10 | Fixed Optical Attenuator,1260nm~1620nm-10dB-LC/PC-45dB
45030023 | SS-OP-ATN-LC-15 | Fixed Optical Attenuator,1260nm~1620nm-15dB-LC/PC-45dB
45030036 | SS-OP-ATN-LC-7 | Fixed Optical Attenuator,1260nm~1620nm,7dB,LC/PC,45dB
Trunk Cable & Converter
25050057 | E-Cat.5e-FTP-4pairs | Twisted-Pair Cable,100ohm,Category 5e,FTP,0.52mm,24AWG,8Cores,4Pairs,PANTONE 430U,Use with Plug:14080097
Trunk Cable & Converter for IPU
4022629 | CB-EDLA75-20-SMB | Trunk Cable,20.00m,75ohm,2.2mm,SMB75SF-V,SYFVZ75-1.2/0.25,HONET,DL2526
4060205 | SS-DL-SMB(W)-75-30 | Trunk Cable,30.00m,75ohm,2.2mm,SMB75SF-V,SYFVZ75-1.2/0.25,Wireless Intelligent Network
4023972 | SS-DL-SMB-75-50 | Trunk Cable,50.00m,75ohm,2.2mm,SMB75SF-V,SYFVZ75-1.2/0.25,C&C08B,DL3134
4040497 | CAB-E1-120ohm-2 | Trunk Cable,3m,120ohm,1E1,0.4mm,MP8-II,120CC4P0.4P430U(S),MP8-II,Expert 2.0
4040261 | CAB-E1-120ohm-15 | Trunk Cable,15m,120ohm,1E1,0.4mm,MP8-II,120CC4P0.4P430U(S),MP8-II
4040496 | CAB-E1-120ohm-30 | Trunk Cable,30m,120ohm,1E1,0.4mm,MP8-II,120CC4P0.4P430U(S),MP8-II,Expert 2.0
4026814 | CAB-SMB | Single Cable,120ohm,75ohm Converter Box(With SMB Socket 14040127),PCB03022834+Box Body 21210634)
25050057 | E-Cat.5e-FTP-4pairs | Twisted-Pair Cable,100ohm,Category 5e,FTP,0.52mm,24AWG,8Cores,4Pairs,PANTONE 430U,Use with Plug:14080097
Power Cable
25030701 | XELECBW02 | Power Cable,450V/750V,H07Z-K UL3386,4mm^2,Blue,45A,LSZH Cable,VDE,UL (Unit:meter)
25030700 | XELECBW03 | Power Cable,450V/750V,H07Z-K UL3386,4mm^2,Black,45A,LSZH Cable,VDE,UL (Unit:meter)
25030735 | C6004GY00 | Power Cable,450V/750V,H07Z-K UL3386,4mm^2,Gray,45A,LSZH Cable,VDE,UL (Unit:meter)
25030730 | XELECBW05 | Power Cable,450V/750V,H07Z-K UL3386,4mm^2,Red,45A,LSZH Cable,VDE,UL (Unit:meter)
25030697 | CPWR00607 | Power Cable,450V/750V,H07Z-K UL3386,6mm^2,Blue,58A,LSZH Cable,VDE,UL (Unit:meter)
25030703 | CGND00606 | Power Cable,450V/750V,H07Z-K UL3386,6mm^2,Black,58A,LSZH Cable,VDE,UL (Unit:meter)
25030717 | C4506GY00 | Power Cable,450V/750V,H07Z-K UL3386,6mm^2,Gray,58A,LSZH Cable,VDE,UL (Unit:meter)
25030731 | P-6mm^2-Red-LSZH | Power Cable,450V/750V,H07Z-K UL3386,6mm^2,Red,58A,LSZH Cable,VDE,UL (Unit:meter)
25030699 | CYG006MM01 | Power Cable,450V/750V,H07Z-K UL3386,6mm^2,Yellow/Green,58A,LSZH Cable,VDE,UL (Unit:meter)
25030586 | P-16mm^2-Blue-LSZH | Power Cable,450V/750V,H07Z-K UL3386,16mm^2,Blue,107A,LSZH Cable,VDE,UL (Unit:meter)
25030639 | P-16mm^2-Black-LSZH | Power Cable,450V/750V,H07Z-K UL3386,16mm^2,Black,107A,LSZH Cable,VDE,UL (Unit:meter)
25030737 | C1050GR00 | Power Cable, UL3386, 16mm^2, 450V, 107A, Gray
25030722 | C1016RE01 | Power Cable,450V/750V,H07Z-K UL3386,16mm^2,Red,107A,LSZH Cable,VDE,UL (Unit:meter)
25030695 | P-25mm^2-Blue-LSZH | Power Cable,450V/750V,H07Z-K UL3386,25mm^2,Blue,138A,LSZH Cable,VDE,UL (Unit:meter)
25030638 | P-25mm^2-Black-LSZH | Power Cable,450V/750V,H07Z-K UL3386,25mm^2,Black,138A,LSZH Cable,VDE,UL (Unit:meter)
25030738 | CR1025GR00 | Power Cable,450V/750V,H07Z-K UL3386,25mm^2,Gray,138A,LSZH Cable,VDE,UL (Unit:meter)
25030719 | C1025RE00 | Power Cable,450V/750V,H07Z-K UL3386,25mm^2,Red,138A,LSZH Cable,VDE,UL (Unit:meter)
25030640 | P-16mm^2-Y/G-LSZH | Power Cable,450V/750V,H07Z-K UL3386,16mm^2,Yellow/Green,107A,LSZH Cable,VDE,UL (Unit:meter)
14191175 | PS2F | Power Connector,2Pin,48V,40A,Straight female,1.5mm^2~10mm^2,Small-sized Easy Power,with pull ring