## Sheet1
FusionModule1000A All in One 40' Infrastructure Solution of Datacenter
21261316 | CDC0LAMISC40 | Prefabricated All-in-One data center-40ft-IT-N+X-380V-50&60Hz-12192*2438*2896 | 1187398
21261316-001 | CDC0LAMISC41 | Prefabricated All-in-One data center-40ft-IT-2N-380V-50&60Hz-12192*2438*2896 | 1271700
21261316-002 | CDC0LAMISC42 | Prefabricated All-in-One data center-40ft-IT-2N-380V-50&60Hz-12192*2438*2896 | 1298150
21261316-003 | CDC0LAMISC43 | Prefabricated All-in-One data center-40ft-IT-2N-208V-50&60Hz-12192*2438*2896 | 1267285
21262910-004 | FusionModule1000-ASC16ASC | Prefabricated All-in-One data center-20ft-CT-16kW-N+X-208V-60Hz-6058*2438*2896 | 311760
21262911 | FusionModule1000-ASC24ASC | Prefabricated All-in-One data center-20ft-CT-24kW-2N-380V-50&60Hz-6058*2438*2896 | 413615
21262911-001 | FM1000-ASC24DSOVX | Prefabricated All-in-One data center-20ft-CT-24kW-2N-308V-60Hz-6058*2438*2896 | 432415
21262910-009 | FusionModule1000-ASC8ASC | Prefabricated All-in-One data center-20ft-CT-8kW-N+X-380V-50&60Hz-6058*2438*2896 | 357948
21262910-010 | FusionModule1000-ASC8ASC | Prefabricated All-in-One data center-20ft-CT-8kW-2N-380V-50&60Hz-6058*2438*2896 | 373817
21262910-011 | FusionModule1000-ASC16ASC | Prefabricated All-in-One data center-20ft-CT-16kW-N+X-380V-50&60Hz-6058*2438*2896 | 442586
21262910-012 | FusionModule1000-ASC16ASC | Prefabricated All-in-One data center-20ft-CT-16kW-2N-380V-50&60Hz-6058*2438*2896 | 467272
21261316-019 | FusionModule1000-AMI54ASC | Prefabricated All-in-One data center-40ft-IT-N+X-380V-50&60Hz-12192*2438*2896 | 1148469
21261316-020 | FusionModule1000-AMI54ADC | Prefabricated All-in-One data center-40ft-IT-2N-380V-50&60Hz-12192*2438*2896 | 1193841
FusionModule1000A All in One Datacenter Auxillary
24022422 | BSD12V190AH01 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 190Ah, 12V Monobloc, 125mm(W) * 559mm(D) * 315mm(H), 4PCS, Shuangdeng Type 4th 6-FMX-200 | 1656
24022452 | BSD2V1000AH01 | Rechargeable Battery, VRLA Battery, 48V, 1000Ah, 2V Cell, 181mm(W) * 370mm(D) * 365mm(H), 24 PCS, Shuangdeng GFM-1000 | 9774
52660074 | HT-500 | Dehumidifier,Dehumidification quantity 45L/D,Refrigerant R407c,R134a,R410a,1250W,220~240V,1Ph,50Hz,pump,Chinese and English | 8250
Subassembly ¦ Accessories,FusionModule1000A,Outside the Datacenter,Apolegamic Components of Project
21260520 | DKBA40708277ASM | Fixing part of external container,200mm,200mm,125mm,IDS1000 | 180
21260022 | DKBA40703508ASM | Container single base | 1211
21260929 | DKBA40710423ASM | Outdoor cable ladder for down-line scene | 600
21260521 | DKBA40708278ASM | Sleet cover for door | 1750
21260521-001 | DKBA40710350ASM | Sleet cover for door(1200) | 1750
21260119 | DKBA40704185ASM | Container step ladder | 1700
Subassembly ¦ Accessories,FusionModule1000A,Outside the Datacenter, Components of Peculiarity
21260994 | ACTCH4 | AIO V2R3C00 low temperature component 3 | 1300
21260995 | ACTCH5 | F9 dust module | 370
1074848 | ESM-48150B1 | Energy Storage Module,ESM-48150B1, 48V, 150Ah, 442mm (W) * 560mm (D) * 160mm (H) | 16410
1074746 | ESM-48100B1 | Energy Storage Module, ESM-48100B1, 48V, 100Ah, 442mm (W) * 396mm (D) * 130mm (H) | 10938
1075302 | ESM-6440P1 | Energy Storage Module,ESM-6440P1,64V,40Ah,200mm*592mm*155mm | 5921
Frequently Inserted Part Numbers
21260116 | EN5CONBASM01 | Container sealing assembly(900) | 2930
21260025 | EN5CONBASM02 | Container ladder bracket(2.5m) | 1390
21260024 | EN5CONBASM03 | Container outdoor ladder(2.0m) | 540
21260023 | EN5CONBASM04 | Container double base | 1960