## Sheet1
1.TP48300B Power System |  |  | 0
02312QTD | R4850G2 | Rectifier Module, R4850, 1U, 3000W, High Efficiency | 1813
1075124 | TP48300B-N04C2 | Indoor Power, TP48300B, 220/380Vac Three-Phase or 220Vac Single-Phase, 300A, 442mm (W) * 360mm (D) * 546mm (H) | 3780
88032XCT | EN2MBASICS08 | Intelligent telecom energy control and management software-Basic management software. | 1370
2.Energy Storage System |  |  | 0
Shuangdeng Batteries |  |  | 0
24022418 | BSD12V90AH01 | Rechargeable Battery, VRLA Battery (Gel, Front Terminal), 48V, 90Ah, 12V Monobloc, 110mm(W) * 395mm(D) * 286mm(H), 4 PCS, Shuangdeng 6-XFMJ-90 | 1190
24022421 | BSD12V150AH03 | Rechargeable Battery, VRLA Battery (Gel, Front Terminal), 48V, 150Ah, 12V Monobloc, 125mm(W) * 550mm(D) * 310mm(H), 4PCS, Shuangdeng 6-XFMJ-150 | 1923
24022934 | BSD12V100AH03 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 100Ah, 12V Monobloc, 110mm(W) * 395mm(D) * 286mm(H), 4 PCS, Shuangdeng Type 4th 6-FMX-100B | 692
24022935 | BSD12V150AH05 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 150AH, 12V Monobloc, 110mm(W) * 549mm(D) * 310mm(H), 4 PCS, Shuangdeng TYPE-E 6-FMX-150B | 1130
24022936 | BSD12V190AH02 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 190Ah, 12V Monobloc, 125mm(W) * 559mm(D) * 315mm(H), 4PCS, Shuangdeng Type 4th 6-FMX-200 | 1303
24022921 | BSD2V200AH21 | Rechargeable Battery, VRLA Battery, 48V, 200Ah, 2V Cell, 181mm(W) * 90mm(D) * 365mm(H), 24 PCS, Shuangdeng GFM-200 | 650
24022926 | BSD2V300AH21 | Rechargeable Battery, VRLA Battery, 48V, 300Ah, 2V Cell, 181mm(W) * 124mm(D) * 365mm(H), 24 PCS, Shuangdeng Type-six GFM-300 | 936
24022927 | BSD2V400AH21 | Rechargeable Battery, VRLA Battery, 48V, 400Ah, 2V Cell, 181mm(W) * 158mm(D) * 365mm(H), 24 PCS, Shuangdeng Type-six GFM-400 | 2945
24022928 | BSD2V500AH21 | Rechargeable Battery, VRLA Battery, 48V, 500Ah, 2V Cell, 181mm(W) * 191mm(D) * 365mm(H), 24 PCS, Shuangdeng Type-six GFM-500 | 3066
Shuangdeng Battery Rack |  |  | 0
24040130 | WSD0200RC | Battery Accessory, 6-Layer Horizontal Rack, SD-48V 200Ah/2V-WP6, 940mm(L)*417mm(W)*788mm(H), One Side Cabling, Match for Battery Group Part Number 24020839 | 262
24040131 | WSD0300RC | Battery Accessory, 6-Layer Horizontal Rack, SD-48V 300Ah/2V-WP6, 940mm(L)*417mm(W)*1002mm(H), One Side Cabling, Match for Battery Group Part Number 24020840 | 270
24040132 | WSD0400RC | Battery Accessory, 6-Layer Horizontal Rack, SD-48V 400Ah/2V-WP6, 940mm(L)*394mm(W)*1196mm(H), One Side Cabling, Match for Battery Group Part Number 24020841 | 298
24040133 | WSD0500RC | Battery Accessory, 4-Layer Horizontal Rack, SD-48V 500Ah/2V-WP4, 1350mm(L)*394mm(W)*940mm(H), One Side Cabling, Match for Battery Group Part Number 24020842 | 294
LEOCH Batteries |  |  | 0
24022434 | BLH12V100AH01 | Rechargeable Battery, VRLA Battery(Front Terminal),48V,100Ah,12V Monobloc,110mm(W)*394mm(D)*286mm(H), 4 PCS,LEOCH FT12-100 | 2598
24022435 | BLH12V150AH01 | Rechargeable Battery, VRLA Battery(Front Terminal),48V,150Ah,12V Monobloc,110mm(W)*551mm(D)*288mm(H), 4 PCS,LEOCH FT12-150 | 1278
24022436 | BLH12V190AH01 | Rechargeable Battery, VRLA Battery(Front Terminal),48V,190Ah,12V Monobloc,126mm(W)*560mm(D)*320mm(H), 4 PCS,LEOCH FT12-190 | 1639
24023008 | FTG12-1501906 | Rechargeable Battery, VRLA Battery(Gel, Front Terminal), 48V, 150Ah, 12V Monobloc, 125mm(W)*550mm(D)*280mm(H), 4 PCS, Leoch FTG12-150 | 1631
24023007 | FTG12-901906 | Rechargeable Battery, VRLA Battery(Gel, Front Terminal), 48V, 90Ah, 12V Monobloc, 110mm(W)*394mm(D)*285mm(H), 4 PCS, Leoch FTG12-90 | 980
24022991 | LPL2-200M1906 | Rechargeable Battery, VRLA Battery, 48V, 200Ah, 2V Cell, 90mm(W)*181mm(D)*365mm(H), 24 PCS,Leoch LPL2-200M | 1416
24022992 | LPL2-300M1906 | Rechargeable Battery, VRLA Battery, 48V, 300Ah, 2V Cell, 124mm(W)*181mm(D)*365mm(H), 24 PCS,Leoch LPL2-300M | 2149
24022993 | LPL2-400M1906 | Rechargeable Battery, VRLA Battery, 48V, 400Ah, 2V Cell, 158mm(W)*181mm(D)*365mm(H), 24 PCS,Leoch LPL2-400M | 2865
24022994 | LPL2-500M1906 | Rechargeable Battery, VRLA Battery, 48V, 500Ah, 2V Cell, 191mm(W)*181mm(D)*365mm(H), 24 PCS,Leoch LPL2-500M | 3560
LEOCH Battery Rack |  |  | 0
24041054 | Leoch-48V200Ah/2V-W6 | Battery Rack,954(W)mm*450(D)mm*880(H)mm | 370
24041055 | Leoch-48V300Ah/2V-W6 | Battery Rack,954(W)mm*450(D)mm*1084(H)mm | 554
24041056 | Leoch-48V400Ah/2V-W6 | Battery Rack,1020(W)mm*470(D)mm*1288(H)mm | 667
24041057 | Leoch-48V500Ah/2V-W4 | Battery Rack,1420(W)mm*470(D)mm*1024(H)mm | 811
Narada Batteries |  |  | 0
24022424 | BND12V100AH02 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 100Ah, 12V Monobloc, 105mm(W) * 390mm(D) * 287mm(H), 4 PCS, Narada 12NDF100 | 909
24022425 | BND12V150AH01 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 150Ah, 12V Monobloc, 125mm(W) * 559mm(D) * 283mm(H), 4 PCS, Narada 6-GFM-155F | 1406
24022426 | BND12V190AH01 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 190Ah, 12V Monobloc, 125mm(W) * 564mm(D) * 316mm(H), 4PCS, Narada 12NDT190 | 1789
24022455 | BND2V200AH01 | Rechargeable Battery, VRLA Battery, 48V, 200Ah, 2V Cell, 94.5mm(W) * 184.5mm(D) * 372mm(H), 24 PCS, Narada GFM-200E | 2158
24022456 | BND2V300AH01 | Rechargeable Battery, VRLA Battery, 48V, 300Ah, 2V Cell, 123mm(W) * 184.5mm(D) * 372mm(H), 24 PCS, Narada GFM-300E | 3237
24022457 | BND2V400AH01 | Rechargeable Battery, VRLA Battery, 48V, 400Ah, 2V Cell, 166mm(W) * 184.5mm(D) * 372mm(H), 24 PCS, Narada GFM-400E | 4316
24022458 | BND2V500AH01 | Rechargeable Battery, VRLA Battery, 48V, 500Ah, 2V Cell, 194.5mm(W) * 184.5mm(D) * 372mm(H), 24 PCS, Narada GFM-500E | 5395
Narada Battery Rack |  |  | 0
24040087 | ND-48V 200Ah/2V-WP6 | Battery Rack,6-layer horizontal rack,940*400*880mm,One side cabling,Match for battery group part number 24020603 | 155
24040088 | ND-48V 300Ah/2V-WP6 | Battery Rack,6-layer horizontal rack,940*400*1048mm,One side cabling,Match for battery group part number 24020604 | 165
24040089 | ND-48V 400Ah/2V-WP6 | Battery Rack,6-layer horizontal rack,940*400*1300mm,One side cabling,Match for battery group part number 24020605 | 166
24040090 | ND-48V 500Ah/2V-WP4 | Battery Rack,4-layer horizontal rack,1325*400*1000mm,One side cabling,Match for battery group part number 24020606 | 276
Mini Power Battery Rack |  |  | 0
21150659 | EN3K0rack150 | battery rack | 145
21151524 | DKBA41022946 | battery frame | 180
21151525 | DKBA41022945 | battery frame | 198
3.1 Installation Materials |  |  | 0
02231HUX | WD30PACKAGE4 | TP48300B Delivery Accessories Package | 78
02231SSB | WD2DHPMI0000SP1 | 19 Open rack 2.0m" | 186
33010286 | ETHSensor | Temperature&Humidity Sensor,15V~24VDC,(+/-)0.8degC)/(+/-)5%RH(15~50)Celsius degree | 35
4041584 | C1200BLRO | Single Cable,H4(2.5),2*22UL1007B+2*22UL1007R,4*T0.5^2N,2m,Temperature&Humidity Monitor Cable,HONET | 2
4070012 | QWMC0000FE00 | Signal Cable,Shielded Straight Through Cable,10m,MP8-II,CC4P0.5GY(S),MP8-II,FTP | 24
4070047 | QWMC0000FE02 | Signal Cable,Shielded Straight Through Cable,1.2m,MP8-II,CC4P0.5GY(S),MP8-II,FTP | 3
21140652 | DKBA80804593.ASM | Sham panel | 2
21140719 | EN3KSPANEL05 | Sham panel | 4
33010332 | EBTSensor002 | Temperature sensor,NTC,Cable Length of 10m,2PIN white terminal | 20
4080249 | QWMCPVMC0002 | Monitor and Alarm Cable, 3m, Middile Point Voltage Monitor Cable | 26
02231ECT | ETHSensor2 | Environment Temperature Sensor ,with 5.0m signal cable | 52
02231ECU | ETHSensor1 | Temperature & humidity sensor | 50
4080054 | EN3MMONCBL00 | Monitor And Alarm Cable,Monitor Cable,1.6m,MP8-VI,CC4P0.48B(S)-I,8*T0.25^2BL,LSZH | 5
4080274 | QWMCPVMC0004 | Monitor and Alarm Cable, 10m, Middile Point Voltage Monitor Cable | 120
4080293 | EN10MONCBL00 | Monitor and Alarm Cable, 10m, Network Cable | 17
21151006 | WDKBRACK0001 | Mount Set with 200mm Height | 140
21152123 | DKBA41505284 | 400mm Height Cabinet Base | 180
21170424 | DKBA44093579 | Copper bar | 13
21202935 | DKBA44094729 | Mouseproof Plate | 5
33010323 | EBTSensor001 | Temperature sensor,NTC,Cable Length of 2m,2PIN white terminal | 5
33010296 | EBTSensor | Temperature Sensor,12V~24VDC,+/-0.5degC | 25
21150505 | DKBA41500653 | 19 Open Rack Mount Kit in Cement Floor" | 18
21150717 | WBTSRACK0001 | BTS Support Mount Kit (Adjustable Height 410mm~700mm) | 140
21150753 | WBTSRACK0002 | BTS Support Mount Kit (Adjustable Height 270mm~410mm) | 120
21150754 | WBTSRACK0003 | BTS Support Mount Kit (Adjustable Height 200mm~270mm) | 100
3.2 Cable for Central Room |  |  | 0
25030431 | C1025YG00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Yellow/Green,112A,CCC,CE (Unit:meter) | 5
25030696 | P-25mm^2-Olivine-LSZH | Power Cable,450V/750V,H07Z-K UL3386,25mm^2,Yellow/Green,138A,LSZH Cable,VDE,UL (Unit:meter) | 15
25030741 | C1035BL01 | Power Cable,450V/750V,H07Z-K UL3386,35mm^2,Blue,171A,LSZH Cable,VDE,UL (Unit:meter) | 27
25030742 | C1035BK01 | Power Cable,450V/750V,H07Z-K UL3386,35mm^2,Black,171A,LSZH Cable,VDE,UL (Unit:meter) | 27
25030743 | C1035YG01 | Power Cable,450V/750V,H07Z-K UL3386,35mm^2,Yellow/Green,171A,LSZH Cable,VDE,UL (Unit:meter) | 27
25030424 | CBLK02501 | Power Cable,300V/500V,60227 IEC 10(BVV),3x25mm^2,Black(3Cores:Brown,Blue,Yellow/Green),112A,Outdoor Cable,CCC,CE (Unit:meter) | 19
25030436 | C1050BL00 | Power Cable,450V/750V,60227 IEC 02(RV),50mm^2,Blue,168A,CCC,CE (Unit:meter) | 10
25030441 | C0095BE00 | Power Cable,450V/750V,60227 IEC 02(RV),95mm^2,Blue,258A,CCC,CE (Unit:meter) | 63
25030442 | C1095BK00 | Power Cable,450V/750V,60227 IEC 02(RV),95mm^2,Black,258A,CCC,CE (Unit:meter) | 63
25030425 | C4016BK00 | Power Cable,600V/1000V,ZA-RVV,4x16mm^2,Black(4Cores:Red,Yellow,Green,Black),85A,CE (Unit:meter) | 16
25031628 | CBLK01003 | AC Input Power Cable, ZA-RVV, 4 Cores, 10mm^2, 600V, 57A, Brown, Black, Gray, Blue | 12
25030435 | C1050BK00 | Power Cable,450V/750V,60227 IEC 02(RV),50mm^2,Black,209A,CCC,CE (Unit:meter) | 10
25030434 | C1050RE00 | Power Cable,450V/750V,60227 IEC 02(RV),50mm^2,Red,209A,CCC,CE (Unit:meter) | 9.5
25031012 | C4010BL00 | Power Cable,600V/1000V,ZA-RVV,4x10mm^2,Black(4Cores:Red,Yellow,Green,Blue),63A,Outdoor Cable,CE (Unit:meter) | 12
25031886 | C3025BK02 | Power Cable,600V/1000V,ZA-RVV,3x25mm^2,Black(3Cores:Brown,Blue,Yellow/Green),96A,Outdoor Cable,CE (Unit:meter) | 23
4.1 Customization Materials |  |  | 0
4150076 | CPOWCAB09 | Power Cable,5m,D3F-2S-II,14UL3386B+14UL3386BL,2*OT2.5-4(A)!,LSZH | 10
16010012 | AC63A224P | Switch-Disconnector,AC230/400V,63A,4P,AC-22,82mm(H)*72mm(W)*80mm(D),35mm DIN Rail Mountable | 21
16020383 | AC63A10KA | Magnetic Circuit Breaker, 230V/400Vac, 63A/4 pole, 10KA, Rail Mounting | 21
19020116 | ELPB20K00 | Power Lightning Arrester, 220/400Vac, 20KA, Rail mounting | 45
19030001 | W0IOHCu00 | Protection accessories, Insulation Operation Handle,Need No Mounting,Apply to Knife Contact Fuses,Cu Alloy,Plastic Shell | 4
33010293 | ESSSensor | Sensor-Smoke Sensor-12VDC-2 wire current mode output | 19
16020312 | MBreake01 | Magnetic Circuit Breaker, 400Vac, 63A/1 Pole, 4.5kA, Rail Mounting | 4
4080144 | CUL100701 | Monitor and Alarm Cable, 6m, Smoker Sensor Alarm Cable | 3.6
25030429 | C1016YG00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Yellow/Green,85A,CCC,CE (Unit:meter) | 4
25030463 | CBLK01001 | Power Cable,300V/500V,60227 IEC 10(BVV),4x10mm^2,Black(4Cores:Brown,Blue,Black,Yellow/Green),63A,Outdoor Cable,CCC,CE (Unit:meter) | 13
4070193 | CSST00101 | Signal Cable,AISG Communication cable,3m,D9M+D9(PS)(W),CC4P0.5PB(S),RC8SF(S)-I ,IP65/IP67 | 75
21240433 | DKBA61526769 | Battery Mount Bracket | 23
25030202 | C1150BL00 | Power Cable,600V/1000V,ZA-RVV,150mm^2,Black,344A,Single-core Double Insulation,CE (Unit:meter) | 31
25030276 | C1016BL03 | Power Cable,600V/1000V,ZA-RVV,16mm^2,Black,85A,Single-core Double Insulation,CE (Unit:meter) | 4
25030201 | C1240BL01 | Power Cable,600V/1000V,ZA-RVV,240mm^2,Black,461A,Single-core Double Insulation,CE (Unit:meter) | 53
25030200 | C1095BL01 | Power Cable,600V/1000V,ZA-RVV,95mm^2,Black,258A,Single-core Double Insulation,CE (Unit:meter) | 21
25030285 | C1070BL00 | Power Cable,600V/1000V,ZA-RVV,70mm^2,Black,213A,Single-core Double Insulation,CE (Unit:meter) | 16
25030430 | C1016BL00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Blue,85A,CCC,CE (Unit:meter) | 4
25030437 | C1050YG00 | Power Cable,450V/750V,60227 IEC 02(RV),50mm^2,Yellow/Green,209A,CCC,CE (Unit:meter) | 10
25030428 | C1016BK00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Black,85A,CCC,CE (Unit:meter) | 4
25030419 | C1035YG00 | Power Cable,450V/750V,60227 IEC 02(RV),35mm^2,Yellow/Green,138A,CCC,CE (Unit:meter) | 21
25030639 | P-16mm^2-Black-LSZH | Power Cable,450V/750V,H07Z-K UL3386,16mm^2,Black,107A,LSZH Cable,VDE,UL (Unit:meter) | 5
25030586 | P-16mm^2-Blue-LSZH | Power Cable,450V/750V,H07Z-K UL3386,16mm^2,Blue,107A,LSZH Cable,VDE,UL (Unit:meter) | 5
25030641 | PWRCBL20AWG | Power Cable,300V,UL2464,4x20AWG,Black(4Cores:Yellow,Green,Violet,White),9A,Non-shielding Outdoor Cable,UL (Unit:meter) | 2
25030860 | C1050BL03 | Electronic¦Electric Cable,600V/1000V,ZA-YJV,(4x50+1x25)mm^2,Black(4+1Cores:Yellow,Green,Red,Blue,Black),179A | 60
25030853 | C4120BL00 | Electronic¦Electric Cable,600V/1000V,ZA-YJV,(3x120+1x70)mm^2,Black(3+1Cores:Yellow,Green,Red,Yellow/Green),322A | 111
25030720 | EN3MCABRD000 | Power Cable,450V/750V,H07Z-K UL3386,35mm^2,Red,171A,LSZH Cable,VDE,UL (Unit:meter) | 27
25030893 | C1024BL00 | Power Cable,600V/1000V,ZA-YJV,5x10mm^2,Black(5Cores:Yellow,Green,Red,Blue,Black),80A,CE (Unit:meter) | 14
28040011 | EHETTUB01 | Heat-Shrink Tube/D11/Radial Shrinkage Ratio>50%/Black | 0.01
20020353 | EBIUNIT00 | Instrument,Energy,Battery Inspection Unit | 391
21020281 | EN3B19inch2m | 19 Open rack 2.0m" | 1193
4023275 | DL2761 | Single Cable,Straight Through Cable,10.00m,MP8-I,(CC4P0.5GY),MP8-I,Unshield,DL2761 | 5